Protocol: Measuring the DNA Content using a QubitTM 3.0 fluorometer and the Qubit™ dsDNA HS Assay Kit (Modified Protocol)

- Label the 500 µl Qubit assay tubes

- Prepare Standards 1 & 2.

For Standard 1, add 10 µl of Standard 1 stock solution to 190 µl of Qubit Working Solution. For Standard 2, add 10 µl of Standard 2 stock solution to 190 µl of Qubit Working Solution.

- Dilute 1 µl of sample DNA in 199 µl of Qubit Working Solution.

- Mix by vortexing for 5 seconds without creating bubbles

- Incubate for 2 minutes at room temperature.

- Select the dsDNA High sensitivity assay type on the home screen.

- Calibrate by reading Standards 1 and 2 successively.

- Read the sample and set sample volume to 1 µl.

Original protocol:

https://documents.thermofisher.com/TFS-Assets/LSG/manuals/Qubit_dsDNA_HS_Assay_UG.pdf